# Solar Request for Proposal Attachment A

# Site Information

Civic Center – 200 S Illinois Ave, Carbondale, IL 62902

Average Monthly Energy Use: 63,326 kWh

Average Monthly On Peak Demand: 174 kW

24 Months of Usage and Demand History (Embedded PDF, double-click to open)

Site Contacts

Sean Henry

City of Carbondale

Public Works Director

shenry@explorecarbondale.com

(618) 457-3270

Robert Hardin

City of Carbondale

Maintenance & Environmental Services Manager

rhardin@explorecarbondale.com

618-457-3273

Public Safety Center – 501 S Washington St, Carbondale, IL 62901

Average Monthly Energy Use: 41,480 kWh

Average Monthly On Peak Demand: 97 kW

24 Months of Usage and Demand History (Embedded PDF, double-click to open)

Site Contacts

Sean Henry

City of Carbondale

Public Works Director

shenry@explorecarbondale.com

(618) 457-3270

Robert Hardin

City of Carbondale

Maintenance & Environmental Services Manager

rhardin@explorecarbondale.com

618-457-3273

SE Waste Water Treatment Plant – 2201 East Walnut Street, Carbondale, IL 62091

Average Monthly Energy Use: 132,732 kWh

Average Monthly On Peak Demand: 324 kW

24 Months of Usage and Demand History (Embedded PDF, double-click to open)

Site Contacts

Sean Henry

City of Carbondale

Public Works Director

shenry@explorecarbondale.com

(618) 457-3270

Robert Hardin

City of Carbondale

Maintenance & Environmental Services Manager

rhardin@explorecarbondale.com

618-457-3273

Maintenance/Environmental Services – 212 West Willow Street, Carbondale, IL 62901

Average Monthly Energy Use: 1,050 kWh

Average Monthly On Peak Demand: N/A

24 Months of Usage and Demand History (Embedded PDF, double-click to open)

Site Contacts

Sean Henry

City of Carbondale

Public Works Director

shenry@explorecarbondale.com

(618) 457-3270

Robert Hardin

City of Carbondale

Maintenance & Environmental Services Manager

rhardin@explorecarbondale.com

618-457-3273

# PVWatts Inputs

PVWatts is an online calculator for solar generation estimates.  Provide energy generation estimates calculated with PVWatts with the proposal.  PVWatts is available at:

http://pvwatts.nrel.gov/pvwatts.php

Use the following inputs or provide justification for alternate inputs.

Figure 1:PVWatts Opening Screen

Figure 2: PVWatts Weather Data File Selection

In order to get an estimated system size in DC, multiply your maximum monthly kw demand from Figure 3 (which is in AC) by 1.3.

# Energy Generation Estimates

For each array, provide monthly anticipated kWh generation as shown in Figure 6.

In addition, review the hourly outputs to provide the maximum annual hourly generation (peak kW).

Figure 3: Generation Estimate for 500kW South Facing Array with 20 Degree Tilt

Figure 4: Input Summary for 500kW South Facing Array with 20 Degree Tilt

From the hourly output, the maximum hourly generation level in this example is 399.7 kW